## XO02
12.11 | SITE SIGNBOARD & HOARDING |  | 12.29 | OHS COMPLIANCE |  |  |  |  | 12 | MECHANICAL SERVICES |  |  |  | APPENDIX 7
Contractor to allow to erect Site Signboard & Hoardings as instructed during |  |  | All OHS conditions will apply to this project.Contractor shall ensure that it is in | [5 empty] | Part of Contract. Contractor to allow to supply and install all mechanical works as per
site work-about by the Architect.Contractor to provide shop drawings for hoarding |  |  | compliance with the Health and &Safety At Work Act 1996 at all times on the work site | [5 empty] | Mechanical drawings. All mechanical products to be of approved brandand confirmed |  |  |  |  | DRAWING REGISTER
for approval prior to erection & seek local authority approval as required.Contractor |  |  | as well as any other Occupational Health & Safety requirements that may be required. | [5 empty] | by the Architect. Contractor to provide data sheet & specifications or approval prior to |  |  |  |  | DRAWING NO. | DRAWING TITLE |  |  |  | DATE
shall ensure that adequate warning signs are placed | [8 empty] | ordering and also to provide warranty certificates for mechanical products and |  |  |  |  | XO01 |  |  |  |  | 24.05.21
|  |  | APPENDIX 4 | [5 empty] | workmanship including compressor & electrical after installation. |  |  |  |  | XO02 |  |  |  |  | 24.05.21
12.12 | TEMPORARY SITE OFFICE & TOILET FACILITIES | [12 empty] | XO03 |  |  |  |  | 24.05.21
The contractor to allow for a temporary site office and temporary toilets for workers & |  |  | MATERIALS SUPPLIED BY OWNER AND GENERAL CONDITIONS | [5 empty] | 13 | DATA, COMMUNICATION, SECURITY & CCTV |  |  |  | A01 |  |  |  |  | 24.05.21
consultants use during the duration of the project at his own cost. Location of temporary site | [8 empty] | Part of Contract. Contractor to allow to supply & install as per drawings. |  |  |  |  | A02 |  |  |  |  | 24.05.21
facilities to be confirmed on site by the superintendent.Site shed and temporary |  |  | 1 | HYDRAULICS - PLUMBING & DRAINAGE | [9 empty] | A03 |  |  |  |  | 24.05.21
toilet location to be confirmed on site by Client and Architect. |  |  | Part of Main Contractors scope. Refer Hydraulics drawings for details.Allow | [5 empty] | 14 | FIRE PROTECTION SERVICES |  |  |  | A04 |  |  |  |  | 24.05.21
Access to the project to be advised by client. |  |  | for Stainless Steel Hosing as required. Contractor to use K2 Water Piping system | [5 empty] | Part of Contract. Contractor to allow to supply and install as per Fire drawings. |  |  |  |  | A05 |  |  |  |  | 24.05.21
|  |  | as per manufacturers specifications & allow for plumbing works as required. | [5 empty] | All works to be in compliance with NFA regulations & also in compliance with |  |  |  |  | A06 |  |  |  |  | 24.05.21
12.13 | FACILITIES FOR SUPERINTENDENT ( if required) | [7 empty] | AUS / NZ standards.Contractor to provide NFA compliance certificate prior to |  |  |  |  | A07 |  |  |  |  | 24.05.21
The contractor shall provide onsite a lockable office 4.8 m x 3.m well lighted, |  |  | 2 | SANITARY WARE |  |  |  |  | final handover of the project. |  |  |  |  | A08 |  |  |  |  | 24.05.21
ventilated and insulated and furnished with a table and chairs for ten |  |  | All sanitary ware (ie. w/c, vanity basin, taps, s/s sink & taps, toilet roll holder, shower | [10 empty] | A09 |  |  |  |  | 24.05.21
personnel,for the Superintendents and Superintendent Representatives use. |  |  | rose and robe hooks to be supplied by client. Other fittings, any additional fixtures and | [5 empty] | 15 | SITEWORKS / EXCAVATION / COMPACTION / BATTERING |  |  |  | A10 |  |  |  |  | 24.05.21
|  |  | accessories shall be allowed by contractor to complete works. Contractor to allow to | [5 empty] | Contractor to allow for all works related to siteworks e.g. tree removal, |  |  |  |  | A11 |  |  |  |  | 24.05.21
12.14 | PROTECTION OF NEIGHBOURING PROPERTIES |  | install & connect all items as required. | [5 empty] | excavation, filling, compaction, battering and storm water drainage as per |  |  |  |  | A12 |  |  |  |  | 24.05.21
The contractor shall protect all existing works. Contractor to ensure that all existing | [8 empty] | drawings & specifications in this tender. |  |  |  |  | A13 |  |  |  |  | 24.05.21
& neighbouring structures are protected during construction, if any doubts exist during |  |  | Description |  |  |  | Total ( off ) | [6 empty] | A14 |  |  |  |  | 24.05.21
excavation the contractor is to employ a certified engineer to approve in writing, |  |  | Stainless Steel Sink - Kitchen |  |  |  | 2 |  | 16 | LANDSCAPING / TOP SOIL |  |  |  | A15 |  |  |  |  | 24.05.21
if extra worksare required. Variations to be sought prior to construction. |  |  | Taps for Sinks |  |  |  | 2 |  | Not Part of Contract. To be done by others. |  |  |  |  | A16 |  |  |  |  | 24.05.21
|  |  | Vanity Basin - semi recessed |  |  |  | 2 | [6 empty] | A17 |  |  |  |  | 24.05.21
12.15 | DISTURBANCE TO NEIGHBOURS DUE TO CONSTRUCTION |  | Vanity Tap |  |  |  | 2 |  | 17 | PC SUMS & CONTINGENCY |  |  |  | A18 |  |  |  |  | 24.05.21
Contractor to ensure when the construction works is in full operational this is not to |  |  | Toilet Pan & Cistern |  |  |  | 2 |  | All contractors had allowed for the following PC Sums in their Tender and also a |  |  |  |  | A19 |  |  |  |  | 24.05.21
disturb the neighbouring properties. |  |  | 5L Urinal & Cistern |  |  |  | 2 |  | Contingency Sum which will be utilized under the instructions of the Architect and |  |  |  |  | A20 |  |  |  |  | 24.05.21
|  |  | Cistern Stop cork |  |  |  | 2 |  | approval by the Client. |  |  |  |  | A21 |  |  |  |  | 24.05.21
12.16 | SITE SECURITY |  | Shower Rose - Anti Vandal |  |  |  | 2 | [6 empty] | A22 |  |  |  |  | 24.05.21
Contractor shall be responsible for the overall security of the project,from the storage |  |  | Bath Spout |  |  |  | 2 |  | Cold Storage |  | : | 2000000 |  | A23 |  |  |  |  | 24.05.21
of the materials to access to the work site during the progress of the works until completion. |  |  | Single Lever Mixer with Diverter for Shower & Standpipe |  |  |  | 2 |  | Mechanical Services |  | : | 720000 |  | A24 |  |  |  |  | 24.05.21
|  |  | Floor Grating |  |  |  | 2 |  | Data & Communication |  | : | 40000 |  | A25 |  |  |  |  | 24.05.21
12.17 | MATERIAL STORAGE |  | Soap Holder |  |  |  | 2 |  | Security & CCTV Services |  | : | 250000 |  | A26 |  |  |  |  | 24.05.21
Client and the Architect shall, in consultation with Contractor, advice the Contractor as |  |  | Towel Rail |  |  |  | 2 |  | Fire Services |  | : | 1600000 |  | A27 |  |  |  |  | 24.05.21
to where the materials for the project could be unloaded and stored for the |  |  | Robe Hook |  |  |  | 2 |  | Solar System |  | : | 1000000 |  | A28 |  |  |  |  | 24.05.21
duration of the project. |  |  | Toilet Roll Holder - 2 Roll Commercial Grade |  |  |  | 2 |  | Signage / One Way Film |  | : | 100000 |  | A29 |  |  |  |  | 24.05.21
|  |  | Lotion Dispenser |  |  |  | 2 |  | Contingency |  | : | 100000 |  | A30 |  |  |  |  | 24.05.21
12.18 | MATERIALS STORAGE IN CASE OF INCLEMENT WEATHER |  | Lotion Dispenser |  |  |  | 2 |  | TOTAL ( VIP ) |  | : | 5810000 |  | A31 |  |  |  |  | 24.05.21
Contractor shall ensure that all unfinished work,materials and other such related things | [13 empty] | A32 |  |  |  |  | 24.05.21
are properly stored and or secured during the cyclone season,so as to not endanger |  |  | 3 | CERAMIC TILES | [9 empty] | A33 |  |  |  |  | 24.05.21
any person(s) or property in such an eventuality. |  |  | All Ceramic tiles to be supplied by client.Contractor to allow for installation including | [10 empty] | A34 |  |  |  |  | 24.05.21
|  |  | tile adhesive, glue, grout, all specified tile trims & accessories. Contractor to finish all | [10 empty] | A35 |  |  |  |  | 24.05.21
12.19 | SUB-CONTRACTOR / CONTRACTOR CO-ORDINATION |  | related concrete works as required including floor levelling & falls to wet areas.Tile | [5 empty] | APPENDIX 5 |  |  |  |  | A36 |  |  |  |  | 24.05.21
Contractor to finish all related concrete & builders works as required and allow for |  |  | glue to be supplied & installed by contractor,Use Ardex X18 for concrete slab & wall | [10 empty] | A37 |  |  |  |  | 24.05.21
attendance.Contractor to coordinate all works with nominated sub-contractors. |  |  | and Ardex X77 for wet area floor & wall. | [5 empty] | MEMORANDA ON GENERAL CONDITIONS OF TENDER |  |  |  |  | A38 |  |  |  |  | 24.05.21
All penetrations/cutouts /chipping to be sub-contractors & finishing by main contractor. | [13 empty] | A39 |  |  |  |  | 24.05.21
Contractor shall be responsible for coordinating works between all other nominated |  |  | 4 | CONCRETE FLOOR FINISH |  |  |  |  | ARCHITECT |  |  | DESIGN HUT |  | A40 |  |  |  |  | 24.05.21
sub-contractors for the duration of the project. |  |  | Concrete slab for Building A & Building B to be Powder Floated concrete finish | [5 empty] | Tender to be addressed to |  |  |  |  | A41 |  |  |  |  | 24.05.21
|  |  | using Ashford Formula Densifier Product as per finishes schedule. Ashford Formula | [5 empty] | Project Name |  | : | 1.3 |  | A42 |  |  |  |  | 24.05.21
12.2 | SURVEYORS CERTIFICATE |  | Densifier Product to be supplied & applied by contractor strictly as per manufacturers | [5 empty] | Description |  | : | 1.5 |  | A43 |  |  |  |  | 24.05.21
The Contractor shall be responsible for the setting out of the works. A Surveyors |  |  | specifications. Sample to be approved by Architect prior to mass application. | [5 empty] | Address |  | : | 1.6 |  | A44 |  |  |  |  | 24.05.21
Certificate of same to be provided to Architect for approval and submitted to local |  |  | Contractor to use approved applicator for applying this product. | [5 empty] | Project No. |  | : | 1.2 |  | A45 |  |  |  |  | 24.05.21
authority by the contractor. Surveyors cost to be paid by the contractor. | [13 empty] | A46 |  |  |  |  | 24.05.21
|  |  | 5 | ALUMINIUM WORKS |  |  |  |  | Tender to be delivered to |  | : | DESIGN HUT |  | A47 |  |  |  |  | 24.05.21
12.21 | STEEL WORKS INSPECTION |  | Part of contract. All aluminium works (windows, doors, vent grills, glazing,hardware, | [7 empty] | : | 26 MARA ROAD, |  | A48 |  |  |  |  | 24.05.21
All steel works has to be inspected by the Engineer prior to pouring & the contractor to |  |  | & security screens) to be supplied and installed by contractor. Contractor to | [7 empty] | : | NAUSORI. |  | A49 |  |  |  |  | 24.05.21
give two days notice before inspection.Council inspection to be arranged by |  |  | provide shop drawings prior to fabrication for Architects approval.Aluminium color | [10 empty] | A50 |  |  |  |  | 24.05.21
contractor. |  |  | to be confirmed by Architect.All hardware to be Lockwood or approved equivalent. | [5 empty] | Tenders queries before |  |  |  |  | A51 |  |  |  |  | 24.05.21
[10 empty] | DATE | : | XXXXX |  | A52 |  |  |  |  | 24.05.21
12.22 | REMEDIAL WORK TO STEEL WORKS |  | 6 | ALUMINIUM COMPOSITE PANEL | [5 empty] | TIME | : | XXXXX |  | A53 |  |  |  |  | 24.05.21
All steel works to be done correctly as per drawing before Engineer is called to |  |  | To be supplied & installed by contractor as per details (drawings). All Aluminium | [10 empty] | A54 |  |  |  |  | 24.05.21
inspect. Should there be any faults on the part of the contractor on incorrect works |  |  | Composite Panels to be 4mm thick Sakura Brand aluminium panels or approved | [5 empty] | Tenders close before |  |  |  |  | A55 |  |  |  |  | 24.05.21
and a repeat inspection is required, the cost will have to be paid by the contractor. |  |  | equivalent.Contractor to produce sample & shop drawings for approval by Architect / | [6 empty] | DATE | : | XXXXX |  | A56 |  |  |  |  | 24.05.21
|  |  | Engineer prior to fabrication.To be installed strictly as per manufacutrers specifications. | [6 empty] | TIME | : | XXXXX |  | A57 |  |  |  |  | 24.05.21
12.23 | OWNER SUPPLIED ITEMS | [12 empty] | A58 |  |  |  |  | 24.05.21
All owner supplied items, list required by contractor so owner can source one month |  |  | 7 | TIMBER DOOR & HARDWARE / STEEL DOOR & GRILL DOOR |  |  |  |  | Tender Deposit |  | : | XXXXXX |  | A59 |  |  |  |  | 24.05.21
prior installation. |  |  | Contractor to allow to supply & install all doors with door hardware and all other | [5 empty] | A cheque for the Tender Deposit ( as stated) is to be attached to this Form of |  |  |  |  | A60 |  |  |  |  | 24.05.21
|  |  | accessories as per drawings. All hardware to be Lockwood or approved equilavent | [5 empty] | Tender and payable to DESIGN HUT |  |  |  |  | A61 |  |  |  |  | 24.05.21
12.24 | REMEDIAL WORK DUE TO SUBSTANDARD WORKMANSHIP |  | Contractor to provide shop drawings for approval by Architect prior | [10 empty] | A62 |  |  |  |  | 24.05.21
All owner supplied items to be installed to our satisfaction. Should this not be done |  |  | to fabrication. | [5 empty] | CONSULTANTS |  |  |  |  | A63 |  |  |  |  | 24.05.21
to our requirements then contractor has to remove and redo at his own cost including | [13 empty] | A64 |  |  |  |  | 24.05.21
labour and materials. |  |  | 8 | ROLLER SHUTTER DOORS & MOTORS |  |  |  |  | Project Manager |  | : | DESIGN HUT |  | A65 |  |  |  |  | 24.05.21
|  |  | To be supplied & installed by contractor as per details (drawings). Contractor to | [10 empty] | A66 |  |  |  |  | 24.05.21
12.25 | PAINTING |  | provide roller shutter door & motor specifications for approval by Architect prior to | [5 empty] | Structural Engineer |  | : | 2.1 |  | A67 |  |  |  |  | 24.05.21
All painting works to be done as per painting specification provided.Paint color |  |  | ordering.Install strictly as per manufacturers specifications.Roller prior to ordering. | [10 empty] | A68 |  |  |  |  | 24.05.21
scheme to be provided later. |  |  | Install strictly as per manufacturers specifications. | [5 empty] | Services Engineer |  | : | 2.5 |  | A69 |  |  |  |  | 24.05.21
[14 empty] | A70 |  |  |  |  | 24.05.21
12.26 | INSPECTIONS / REPORT BY PAINT SUPPLIER |  | 9 | CHAIRS & LOCKERS |  |  |  |  | INSURANCE |  |  |  |  | A71 |  |  |  |  | 24.05.21
We will be engaging nominated paint supplier to carry out inspection at every |  |  | Not Part of Contract. To be done by others. | [10 empty] | A72 |  |  |  |  | 24.05.21
stage prior to paint being applied and provide us with their report. Paint to be | [8 empty] | Public Liability Cover |  |  |  |  | A73 |  |  |  |  | 24.05.21
only done once written confirmation is given by the Architect for each stage |  |  | 10 | STAINLESS STEEL HAND RAILS |  |  |  |  | minimum amount required |  | : | 1000000 |  | A74 |  |  |  |  | 24.05.21
based on the report received from the paint supplier. |  |  | Contractor to allow for supply & installation of stainless steel hand rails.Stainless | [10 empty] | A75 |  |  |  |  | 24.05.21
|  |  | steel to be 316 commercial grade. Provide shop drawings for approval by Architect | [5 empty] | Contractors All Risk Cover |  |  |  |  | A76 |  |  |  |  | 24.05.21
12.27 | CLEAN UP |  | prior to fabrication. | [5 empty] | minimum amount required |  | : | VALUE OF CONTRACT |  | A77 |  |  |  |  | 24.05.21
During the Construction, the Contractor shall maintain a clean work site at all | [13 empty] | A78 |  |  |  |  | 24.05.21
times and shall ensure that all off-cuts, debris and other such things are carted |  |  | 11 | ELECTRICAL SERVICES |  |  |  |  | APPENDIX 6 |  |  |  |  | A79 |  |  |  |  | 24.05.21
away from the work site and disposed off properly every day. Upon completion of |  |  | Part of Contract. Supply & installation of Electrical appliances i.e. fridge & | [10 empty] | A80 |  |  |  |  | 24.05.21
the project, Contractor shall be responsible for the clean up of the work |  |  | microwave are not part of contract. Light Fittings to be supplied by contractor. | [5 empty] | TENDER FORM |  |  |  |  | A81 |  |  |  |  | 24.05.21
site before handover to Client. |  |  | Contractor to install including wiring. All other accessories eg. switches, | [5 empty] | Attached to the Tender Documents |  | : | Sheet XO03,only this sheet to be submitted |  | A82 |  |  |  |  | 24.05.21
|  |  | powerpoints, main switch board, meter box, sub-board, mounting boxes to be | [8 empty] | for Tender including any additional |  | A83 |  |  |  |  | 24.05.21
12.28 | WORKMANSHIP QUALITY & STANDARD |  | supplied & installed by contractor. All electrical works to be carried out by the | [8 empty] | information which the contractor may propose. |  | A84 |  |  |  |  | 24.05.21
Contractor shall ensure that all works are carried out as per Architect instructions & |  |  | the contractor as per Electrical drawings.Meter,sub - board & main switch board | [10 empty] | A85 |  |  |  |  | 24.05.21
as specified in the Drawings,Specifications including Sheets XO01, XO02 & |  |  | board location to be confirmed on site by Architect. Electrical works to be in | [5 empty] | LEGEND : |  |  |  |  | A86 |  |  |  |  | 24.05.21
XO03 and Fiji Standard Form of Building Contract without Quantities Private |  |  | compliance with rules & regulations and to strictly meet EFL standards. | [5 empty] | COB |  | : | CLOSE OF BUSINESS |  | A87 |  |  |  |  | 24.05.21
edition 1978. |  |  | Contractor to provide EFL compliance certificate prior to final handover of the project. | [5 empty] | TBA |  | : | TO BE ADVISED |  | A88 |  |  |  |  | 24.05.21
Copyright reserved in all drawings and the |  |  |  |  | REVISION | NOTES | DATE | PROJECT |  |  |  |  | SHEET TITLE |  |  | DESIGN | : SP | PROJECT NO. | : 1.2
work executed from them. Figured dimensions | [7 empty] | 1.3 |  |  |  |  | SPECIFICATION
shall be read in preferance. Largest scaled | [12 empty] | SHEET 2 |  |  | PREP BY | : XXX | SHEET NO. | XO02
drawings shall take precedence. Check all |  | ARCHITECTS,DESIGN CONSULTANTS,PROJECT MANAGERS,INTERIOR DESIGNERS
dimensions on site. All discrepancies shall |  | 26 MARA ROAD , P.O.BOX 16 , NAUSORI , FIJI ISLANDS | [5 empty] | 1.5 | [7 empty] | DATE | : XXXX | REVISION | : XXXX
be reported to the ARCHITECT immediately. |  | PH.- 3400 287 , Email : designhut@connect.com.fj | [5 empty] | 1.6